Malaysian Journal of Analytical Sciences Vol 23 No 2 (2019): 336 - 344

METHOD DEVELOPMENT AND VALIDATION FOR QUANTIFICATION OF CORTISOL AND CORTISONE USING ULTRA-HIGH PERFORMANCE LIQUID CHROMATOGRAPHY-TANDEM MASS SPECTROMETRY

(Pembangunan dan Pengesahan Kaedah untuk Kuantifikasi Kortisol dan Kortison Menggunakan Kromatografi Cecair Berprestasi Ultra Tinggi-Spektrometri Jisim Gabungan)

Hazirah Abd Azhar1,2, Mohd Salleh Rofiee1, Mohammad Zulfadhly Jan Jam1, Muhammad Hisyam Jamari1,

Roziah Mohd Janor1,3, Richard Johari James1,2*, Teh Lay Kek1,2, Mohd Zaki Salleh1,2

1Integrative Pharmacogenomics Institute (iPROMISE)

2Faculty of Pharmacy

Universiti Teknologi MARA Puncak Alam Campus, 42300 Bandar Puncak Alam, Selangor, Malaysia

3Faculty of Computer & Mathematical Sciences,

Universiti Teknologi MARA Shah Alam Campus, 40450 Shah Alam, Selangor, Malaysia

*Corresponding author:  richard@uitm.edu.my

Received: 30 May 2018; Accepted: 14 April 2019

Abstract

Cortisol and its metabolite cortisone have been used as a biological marker of stress in human psychobiological studies. Cortisol and cortisone quantitation may help to examine physiological responses towards stress. A highly sensitive and selective ultra-high performance liquid chromatography tandem mass spectrometry (UHPLC-MS/MS) method was developed for simultaneous quantitation of cortisol and cortisone in human serum. These two compounds were chromatographically separated using Agilent ZORBAX Eclipse Plus C18 Rapid Resolution HD column (2.1 mm × 50 mm, 1.8 µm) and were eluted with (A) 0.1% formic acid in water and (B) methanol mobile phase. The sample injection volume was 2 µL and the flow rate was set at 0.3 mL/min. The analytes were determined in positive ionization mode and quantitated by multiple-reaction monitoring (MRM) mode. The method was linear from 7.8 to 500 ng/mL for cortisol (r2 = 0.986) and cortisone (r2 = 0.990). The precision, accuracy, and recovery of the method for cortisol ranged from 1.98-10.46%, 90.68-91.94%, 90.38-93.88%, and cortisone ranged from 1.01-11.36%, 93.12-94.79% and 90.48-95.90%, respectively. The developed method has met the quality standards of European Medicines Agency (EMA).

Keywords:  cortisol, cortisone, serum, ultra-high performance liquid chromatography-tandem mass spectrometry

Abstrak

Kortisol dan metabolitnya kortison telah digunakan sebagai penanda tekanan biologi  untuk mengkaji psikobiologi manusia. Pengkuantitian kortisol dan kortison boleh membantu untuk menilai tindak balas fisologi terhadap tekanan. Kaedah kromatografi cecair berprestasi ultra tinggi -spektrometri jisim gabungan yang sangat sensitif dan selektif telah dibangunkan untuk pengkuantitian kortisol dan kortison secara serentak di dalam serum manusia. Kedua-dua sebatian ini telah dipisahkan secara kromatografi menggunakan turus Agilent ZORBAX Eclipse Plus C18 Resolusi Pantas HD (2.1 mm × 50 mm, 1.8 μm) dengan campuran fasa bergerak (A) 0.1% asid formik dalam air dan (B) metanol. Jumlah suntikan sampel adalah 2 μL dan kadar aliran ditetapkan pada 0.3 mL/min. Analisis ini telah ditentukan dalam mod pengionan positif dan dikira oleh mod pemantauan pelbagai tindak balas. Kaedah ini adalah linear dari 7.8 hingga 500 ng/mL untuk kortisol (r2 = 0.986) dan kortison (r2 = 0.990). Ketepatan, kejituan dan kadar pemulihan untuk kortisol adalah antara 1.98-10.46%, 90.68-91.94%, 90.38-93.88%, dan kortison terdiri daripada 1.01-11.36%, 93.12-94.79% dan 90.48-95.90%. Kaedah yang dibangunkan telah memenuhi piawaian kualiti agensi perubatan eropah (EMA).

Kata kunci:  kortisol, kortison, serum, kromatografi cecair berprestasi ultra tinggi - spektrometri jisim gabungan

References

- Knutson, U., Dahlgren, J., Marcus, C., Rosberg, S., Bronnegard, M., Stierna, P. and Albertsson-Wikland, K. (1997). Circadian cortisol rhythms in healthy boys and girls: Relationship with age, growth, body composition, and pubertal development. Journal of Clinical Endocrinology and Metabolism, 82(2): 536.

- Aube, B. L. L., Curbow, B. A., Ostello, R. W. and Fitzgerald, S. T. (2002). A pilot study examining the relationship between stress and serum cortisol concentrations in women with asthma. Respiratory Medicine, 96: 823 – 828.

- Lee, S., Lim, H. S., Shin, H. J., Kim, S. A., Park, J., Kim, H.C., Kim, H., Kim, H. J., Kim, Y.T., Lee, K. R. and Kim, Y. J. (2014). Simultaneous determination of cortisol and cortisone from human serum by liquid chromatography-tandem mass spectrometry. Journal of Analytical Methods in Chemistry, 2014: 787483.

- De Palo, E. F., Antonelli, G., Benetazzo, A., Prearo, M. and Gatti, R. (2009). Human saliva cortisone and cortisol simultaneous analysis using reverse phase HPLC technique.  Clinica Chimica Acta, 405: 60 – 65.

- Ray, J. A., Kushnir, M. M., Rockwood, A. L. and Meikle, A. W. (2011). Analysis of cortisol, cortisone and dexamethasone in human serum using liquid chromatography-tandem mass spectrometry and assessment of cortisol: Cortisone ratios in patients with impaired kidney function. Clinica Chimica Acta, 412: 1221 – 1228.

- Lee, S., Kwon, S., Shin, H. J., Lim, H. S., Singh, R. J., Lee, K. R. and Kim. Y. J. (2010). Simultaneous quantitative analysis of salivary cortisol and cortisone in Korean adults using LC-MS/MS. BMB Reports, 43(7): 506 – 511.

- Zhai, X., Chen, F., Zhu, C. and Lu. Y. (2015). A simple LC-MS/MS method for the determination of cortisol, cortisone and tetrahydro-metabolites in human urine: Assay development, validation and application in depression patients. Journal of Pharmaceutical and Biomedical Analysis, 107: 450 – 455.

- Levine, A., Zagoory-Sharon, O., Feldman, R., Lewis, J. G., and Weller. A. (2007). Measuring cortisol in human psychobiological studies. Physiology and Behavior, 90(1): 43 – 53.

- Milam, J., Slaughter, R., Verma, G. and McConnell. R. (2014). Hair cortisol, perceived stress and dispositional optimism: a pilot study among adolescents. Journal of Traumatic Stress Disorders & Treatment, 3(3): 1 – 13.

- Herane Vives, A., De Angel, V., Papadopoulos, A., Strawbridge, R., Wise, T., Young, A. H., Arnone, D. and Cleare. A. J. (2015). The relationship between cortisol, stress and psychiatric illness: New insights using hair analysis. Journal of Psychiatric Research, 70: 38 – 49.

- Pani, S. C., Al Askar, A. M., Al Mohrij, S. I. and Al Ohali, T. A. (2011). Evaluation of stress in final-year Saudi dental students using salivary cortisol as a biomarker. Journal of Dental Education, 75(3): 377 – 384.

- Lundberg, U. (2005). Stress hormones in health and illness: The roles of work and gender. Psychoneuroendocrinology, 30(10): 1017 – 1021.

- Institute for Public Health (2015). National Health and Morbidity Survey 2015 (NHMS 2015): Non-Communicable Diseases, Vol. II. San Diego, California.

- Armitage, C. J., Panagioti, M., Rahim, W. A., Rowe, R., O’Connor, R. C. (2015). Completed suicides and self-harm in Malaysia: A systematic review. General Hospital Psychiatry, 37(2): 153 – 165.

- Singh, R., Goyal, M., Tiwari, S., Ghildiyal, A., Nattu, S. M. and Das, S. (2012). Effect of examination stress on mood, performance and cortisol levels in medical students. Indian Journal of Physiology and Pharmacology, 56(1): 48 – 55.

- Owen, L. J., Adaway, J. E., Davies, S., Neale, S., El-Farhan, N., Ducroq, D., Evans, C., Rees, D. A., Mackenzie, F. and Keevil, B. G. (2013). Development of a rapid assay for the analysis of serum cortisol and its implementation into a routine service laboratory. Annals of Clinical Biochemistry, 50(4): 345 –352.

- Turpeinen, U. and Hämäläinen, E. (2013). Determination of cortisol in serum, saliva and urine. Best Practice and Research: Clinical Endocrinology and Metabolism, 27(6): 795 – 801.

- Monaghan, P. J., Keevil, B. G. and Trainer, P. J. (2013). The use of mass spectrometry to improve the diagnosis and the management of the HPA axis. Reviews in Endocrine & Metabolic Disorder, 14(2): 143 – 157.

- Lopes Alves, A. N., Mendonca, B. B. and Valassi, H. P. L. (2015). Analytical performance of LC-MS/MS method for simultaneous determination of five steroids in serum. Mass Spectrometry & Purification Techniques, 1(2): 1 – 5.

- Huang, W., Kalhorn, T. F., Baillie, M., Shen, D. D. and Thummel, K. E. (2007). Determination of free and total cortisol in plasma and urine by liquid chromatography-tandem mass spectrometry. Therapeutic Drug Monitoring, 29 (2): 215 – 224.

- Kushnir, M. M., Rockwood, A. L., Roberts, W. L., Yue, B., Bergquist, J. and Meikle, A. W. (2011). Liquid chromatography-tandem mass spectrometry for analysis of steroids in clinical laboratories. Clinical Biochemistry, 44(1): 77 – 88.

- Cao, Z., West, C., Norton-Wenzel, C. and Rej, R. (2009). Effects of resin or charcoal treatment on fetal bovine serum and bovine calf serum. Endocrine Research, 34(4): 101 – 108.

- Ifelebuegu, A. O. (2012). Removal of steroid hormones by activated carbon adsorption—kinetic and thermodynamic studies. Journal of Environmental Protection, 3(6): 469 – 475.

- Cooper, N., Khosravan, R., Erdmann, C., Fiene, J. and Lee, J. W. (2006). Quantification of uric acid, xanthine and hypoxanthine in human serum by HPLC for pharmacodynamic studies. Journal of Chromatography B: Analytical Technologies in the Biomedical and Life Sciences, 837: 1 – 10.

- Ke, Y., Bertin, J., Gonthier, R., Simard, J. N. and Labrie, F. (2014). A sensitive, simple and robust LC-MS/MS method for the simultaneous quantification of seven androgen- and estrogen-related steroids in postmenopausal serum. Journal of Steroid Biochemistry and Molecular Biology, 144: 523 – 534.

- Sánchez-Guijo, A., Oji, V., Hartmann, M. F., Traupe, H. and Wudy, S. A. (2015). Simultaneous quantification of cholesterol sulfate, androgen sulfates, and progestagen sulfates in human serum by LC-MS/MS. Journal of Lipid Research, 56(9): 1843 – 1851.

- European Medicines Agency (2011). Guideline on bioanalytical method validation.  Access from http://www.ema.europa.eu/docs/en_GB/document_library/Scientific_guideline/2011/08/WC500109686.pdf

- Tai, S. S.-C. and Welch, M. J. (2004). Development and evaluation of a candidate reference method for the determination of total cortisol in human serum using isotope dilution liquid chromatography/mass spectrometry and liquid chromatography/tandem mass spectrometry. Analytical Chemistry, 76 (4): 1008 – 1014.