Malaysian Journal of Analytical Sciences Vol 24 No 2 (2020): 165 - 172

# DEVELOPMENT AND VALIDATION OF HPLC METHOD FOR QUANTIFICATION OF DOCETAXEL IN PALM-BASED

# NANOEMULSION AEROSOLS

# (Pembangunan dan Validasi Kaedah KCPT untuk Kuantifikasi Docetaxel di dalam Nanoemulsi Aerosol Berasaskan Sawit)

# Azren Aida Asmawi1, Norazlinaliza Salim1,2, Emilia Abdulmalek1,2, Mohd Basyaruddin Abdul Rahman1,2*

# 1Integrated Chemical BioPhysics Research, Faculty of Science

# 2Department of Chemistry, Faculty of Science

# Universiti Putra Malaysia, 43400 UPM Serdang, Selangor, Malaysia

# *Corresponding author: basya@upm.edu.my

Received: 20 November 2019; Accepted: 3 March 2020

Abstract

# Lung cancer is the leading cause of cancer-related deaths worldwide. Among the most potent of chemotherapeutic drugs used for lung cancer treatment are the taxanes, including docetaxel. However, the drugs’ efficacy in combating the disease is reduced due to their poor solubility, low stability and high toxicity. Inhalation therapy of lipid-based carrier has great potential in direct target towards the respiratory diseases. Hence, application of aerosolized palm-based nanoemulsion system is one approach to alleviate the drawbacks. This study describes the development and validation of method that can quantitate the amount of docetaxel nanoemulsion formulation via high-performance liquid chromatography (HPLC). Chromatographic analysis was conducted using a reversed phase C18 column with a mixture of acetonitrile and water (50:50) adjusted to pH 3.0 as the mobile phase. The flow rate was 1.0 mL/min and the detection was carried out by ultraviolet-visible detector at 228 nm. The developed method was validated in terms of specificity, linearity, accuracy and precision accordance with the International Conference on Harmonization (ICH) guidelines. The calibration curve was linear (r2 = 0.999) over the concentration range from 62.5 to 1000 μg/mL with lower limit of detection (LOD) of 9.88 µg/mL and lower limit of quantification (LOQ) of 29.93 µg/mL. The percentage relative standard deviation for both intra and inter-day precision was less than 2%, while percentage recovery was more than 90%, indicating the precision and accuracy of the study. The developed HPLC method was proved as suitable and reliable for its intended application.

# Keywords:  aerosols, docetaxel, high-performance liquid chromatography, nanoemulsion, lung cancer

Abstrak

# Kanser paru-paru adalah punca utama kematian akibat kanser di seluruh dunia. Antara ubat kemoterapi yang berkesan digunakan untuk rawatan kanser paru-paru ialah taxane, termasuk docetaxel. Walau bagaimanapun, keberkesanan ubat dalam merawati penyakit ini berkurangan disebabkan oleh kelarutannya yang kurang baik, kestabilan yang rendah dan ketoksikan yang tinggi. Oleh itu, penggunaan sistem nanoemulsi berasaskan sawit adalah satu pendekatan untuk mengurangkan kelemahan tersebut. Kajian ini menerangkan pembangunan dan validasi yang boleh mengkuantifikasi jumlah docetaxel di dalam rumusan nanoemulsi melalui kaedah kromatografi cecair prestasi tinggi (KCPT). Analisis kromatografi dijalankan menggunakan turus fasa terbalik C18 dengan campuran asetonitril dan air (50:50) diselaraskan kepada pH 3.0 sebagai fasa bergerak. Kadar aliran adalah 1.0 mL/min dan pengesanan dilakukan oleh pengesan ultralembayung-nampak pada 228 nm. Kaedah yang dibangunkan telah disahkan dari segi kekhususan, kelinearan, kejituan, ketepatan dan kepersisan berdasarkan garis panduan persidangan pengharmonian antarabangsa (ICH). Plot tentukuran adalah linear (r2 = 0.999) di atas kepekatan antara 62.5 hingga 1000 μg/mL dengan had pengesanan (LOD) iaitu 9.88 μg/mL dan had kuantifikasi (LOQ) sebanyak 29.93 μg/mL. Peratusan sisihan piawai relatif  untuk kedua-dua kepersisan intra dan inter-hari adalah kurang daripada 2%, manakala purata kejituan adalah lebih daripada 90%, menunjukkan kepersisan dan ketepatan kajian. Kaedah KCPT yang dibangunkan terbukti sesuai dan boleh digunakan untuk aplikasi yang dirancangkan.

# Kata kunci:  aerosol, docetaxel, kromatografi cecair prestasi tinggi, nanoemulsi, kanser paru-paru

References

- Gubens, M. A. and  Wakelee, H. A. (2010). Docetaxel in the treatment of non-small cell lung carcinoma: an update and analysis. Lung Cancer (Auckland), 1: 63-76.

- Varshosaz, J., Taymouri, S., Hassanzadeh, F., Javanmard, S. H. and Rostami, M. (2015). Self-assembly micelles with lipid core of cholesterol for docetaxel delivery to B16F10 melanoma and Hepg2 cells. Journal of Liposome Research, 25(2): 157-165.

- Zhang, L., Tan, L., Chen, L., Chen, X., Long, C., Peng, J. and Qian, Z. (2016).  A simple method to improve the stability of docetaxel micelles. Scientific Reports - Nature, 6 (36957): 1-10.

- Liu, Z., Liu, D., Wang, L., Zhang, J. and Zhang, N. (2011). Docetaxel-loaded Pluronic P123 polymeric micelles: in vitro and in vivo evaluation. International Journal of Molecular Sciences, 12(3): 1684- 1696.

- Nesamony, J., Shah, I. S., Kalra, A. and Jung, R. (2014). Nebulized oil-in-water nanoemulsion mists for pulmonary delivery: Development, physico-chemical characterization and in vitro evaluation. Drug Development and Industrial Pharmacy, 40(9): 1253-1263.

- Xia, D., Sun, W. K., Tan, M. M., Zhang, M., Ding, Y., Liu, Z. C., Su, X. and Shi, Y. (2015). Aerosolized amphotericin B as prophylaxis for invasive pulmonary aspergillosis: A meta-analysis. International Journal of Infectious Diseases, 30: 78-84.

- Ngan C. L. and Asmawi, A. A. (2018). Lipid-based pulmonary delivery system: A review and future considerations of formulation strategies and limitations. Drug Delivery and Translational Research, 8 (5): 1527-1544.

- Keng, P. S., Basri, M., Zakaria, M. R. S., Rahman, M. B. A., Ariff, A. B., Rahman, R. N. Z. A. and Salleh, A. B. (2009). Newly synthesized palm esters for cosmetics industry. Industrial Crops and Products, 29(1): 37-44.

- Che, H. L., Tan, D. M. Y., Meganathan, P., Gan, Y. L., Abdul Razak, G. and Fu, J. Y. (2015). Validation of a HPLC/FLD method for quantification of tocotrienols in human plasma. International Journal of Analytical Chemistry, 2015: 1-7.

- Le, T. H. H., Phung, T. H. and Le, D. C. (2019). Development and validation of an HPLC method for simultaneous assay of potassium guaiacolsulfonate and sodium benzoate in pediatric oral powder. International Journal of Analytical Chemistry, 2019: 1-9.

- Shah, K., Chan, L. W. and Wong, T. W. (2017). Critical physicochemical and biological attributes of nanoemulsions for pulmonary delivery of rifampicin by nebulization technique in tuberculosis treatment. Drug Delivery, 24(1): 1631-1647.

- Shin, S. W., Song, I. H. and Um, S. H. (2015). Role of physicochemical properties in nanoparticle toxicity. Nanomaterials, 5(3): 1351-1365.

- Ezzati N. D. J., Hamishehkar, H. and Valizadeh, H. (2015). Development of dry powder inhaler formulation loaded with alendronate solid lipid nanoparticles: Solid-state characterization and aerosol dispersion performance. Drug Development and Industrial Pharmacy, 41(9): 1431-1437.